7W Decor Candle Energy Saving Lamp

KCF07CND/B22-827    KCF07CND/E27-827

KCF07CND/B15-827    KCF07CND/E14-827

Product Code Format:

KCFCND/-

Features:

- Save energy up to 80% comparing with incandescent lamps

- Long Life of 8000h, 8 times longer than incandescent lamp

- Amalgam technology to achieve premium performance and minimum Hg content (2mg)

- High efficient tri-phosphor coating with excellent color rendering.

- Not dimmable

- Lamp life may reduce when used in a enclosed fitting

Specifications:

| Rated Lamp Wattage | 7W | Ambient Temperature | 0℃ to 40℃ |
| --- | --- | --- | --- |
| Equ. Watt | 40W | Start Time | 0.6s |
| Voltage | 220-240V | Warm up Time (60%) | 40s(Norm.), 60s(Max) |
| Line Frequency | 50/60Hz | Switch Cycles | 10,000 Times |
| Input Current | 50A | Length | 105mm |
| Dimmable | No | Diameter | 37mm |
| Base | B22/B15/E27/E14 | Packaging type | Colour Box |
| Life to 50% failure | 8000hr | Qty per Box | 1 |
| Energy Class | A | Qty per mid-Carton | 10 |
| Color Temperature | 2700K | Qty per Carton | 50 |
| Mercury (Hg) | 2mg | Net weight Per piece | kg |
| CRI | 82 | Gross Weight per Carton | 3.7kg |
| Lamp Luminous Flux | 290lm |  |  |
| Lumen maintenance 2000h | 85% |  |  |
| Lumen maintenance 8000h | 70% |  |  |

# Text boxes

Rated Lamp Wattage

Colour Temperature

Lamp Cap